## Site Assessment
Site Assessment Checklist for CBNAAT Project - sample
Laboratory Name and Address |  | xx
Laboratory In-charge and contact details |  | YY
Mobile-
Email ID
S. No. | Preparatory Activities |  | Status | Remarks
A | Communication and Coordination for Establishment of Lab
1 | Communication from Central TB division to the state was done ahead of initiation of project activity
2 | Communication from respective IRL to the referral network/Hospitals
B | Sensitization
1 | Sensitization of state programme officials about the project
2 | Sensitization of district program officials about the project
3 | Sensitization and advocacy meetings for potential hospitals of referral network
4 | Sensitization workshop for other private providers, public providers and paediatrician
C | Site Assessment visit
1 | Dedicated space/room for housing of CBNAAT equipment is identified
2 | Appropriate area for storage of Xpert cartridges within recommended temperature range is identified
3 | Assessment of power situation i.e. frequency and duration of power interruptions, stability of voltage supply, and need for power back up identified
4 | Need for minimum civil work requirement was identified
5 | Arrangements for electricity points, security, AC, furniture etc. are made at CBNAAT Site
6 | Identification of logistic requirements for the lab including personal protective equipment, disinfectants, other related lab consumables and bio medical waste management
D | Logistics supply
1 | Supply of CBNAAT equipment
2 | Supply of air conditioner to maintain ambient room temperature at lab
3 | Supply of UPS and batteries to ensure additional power back up in case of power failure
4 | Supply of temperature guaze to monitor dat to day temperature at lab
5 | Supply of refrigerator for storage of specimen as required
6 | Other Lab consumables | Gloves
Lab Coat
Additional Pasteur pipettes
Falcon tubes
Spray Bottles
Timer
7 | Cartridges supply ahead of initiation of project activity of buffer stock based on the workload, shelf life, storage space and lead time
E | Implementation activity
1 | Installation of CBNAAT equipment
2 | Laboratory Infrastructure | Minor civil works
Provision of lab furniture, work area
3 | Power back up | 1 KVA UPS for stable power supply
Adequate number of batteries to provide need based back-up
4 | Temperature | Installation of AC with Stabiliser
Temperature Gauze to monitor the temperature
5 | Installation of refrigerator
F | Recruitment of HR
1 | Recruitment of dedicated lab coordinator under the project
2 | Recruitment of Data Entry Operator (DEO)
G | Training
1 | Training of the lab staff and DEO
2 | On site training for the lab staff on specimen processing
3 | Training on logistics management
4 | Training on daily reporting and recording at lab
H | Establishment of specimen transportation mechanism
1 | Identification of the potential hospitals for establishing referral mechanisms
2 | Mechanisms for specimen transportation from referral hospitals to concern lab established
3 | Tracking of cases referred to lab from referral network through tracking sheet
4 | Organising sensitization workshop for the referral network hospitals
I | Monitoring of Ongoing Activities
1 | Ensure same day Specimen Transportation from linked referral hospitals to the lab
2 | Track number of presumptive patients referred from linked hospitals
3 | Contact tracing for symptomatic paediatric of the patient already on treatment
4 | Ensure same day results communicated back to providers by SMS and email
5 | Maintaining a daily log of minimum and maximum temperature of CBNAAT Site
6 | Maintaining effective referral and feedback system to keep track of cases referred for treatment to other TUs/districts
7 | Analyze errors for the tests conducted and calculate percentage of valid results provided for specimens reaching the lab
8 | Ensure regular functionality of UPS, A/c, broadband, temperature guaze and timer
9 | Check for supply of Lab consumables used for testing and disinfection
10 | Biomedical Waste Management mechanisms in place
11 | Cartridges of one month are available at lab (stock)
12 | Monthly report on cartridges consumption and requirement being submitted

## Procurement Plan
Initial Procurement Plan
No. | Procure Item (if required) | Quantity
1 | GeneXpert
2 | UPS Genexpert
3 | Battery
4 | Desktop DataEntry
5 | UPS Dataentry
6 | AC
7 | Cartridge
8 | Falcon Tube
9 | Internet Modem
10 | Pipette
11 | Refrigerator
12 | Printer
13 | Scanner
14 | Temperature gauge
15 | Surge protector
16 | Furniture
17 | Wifi Adapter

## Training Plan
Site Name | Lab name
Training Type | Training Status | Date
Sensitization workshop for state officials
Sensitization workshop for district officials
Sensitization of private and public providers - along with professional associations/bodies
Sensitization meeting for concerned officials at Medical Colleges
Sensitization of counsellors of ICTC
Training on CBNAAT for Lab staff
Sensitization workshop for other district field level staff, parallel govt programmes officials and relevant stakeholders